## Slide 1
Prepared by:
Dr Ramandeep Kaur
JR Radiodiagnosis
GMCH Patiala
Computer Radiography
Vs
Digital Radiography

## Slide 2
DIGITAL PROJECTION RADIOGRAPHY
COMPUTED RADIOGRAPHY (CR)
DIGITAL RADIOGRAPHY (DR)

## Slide 3: COMPUTED RADIOGRAPHY (CR)
Been around since 1980-81
Uses same radiographic equipment
Uses an imaging plate
Need a cassette reader
Very similar to conventional radiographic cassette.
Same amount of time to produce the image as with film processing time
Increased exposure

## Slide 4: CR SYSTEM

## Slide 5: CR PLATE

## Slide 6: CASETTE CONSTRUCTION
Light weight aluminum
Plastic
Steel frame
Front panel made of low attenuation carbon fiber
Back panel contains lead foil to protect the plate from backscatter.
Back panel also contains chip to record patient demographic information.

## Slide 8: CROSS-SECTION OF CR PLATE
ANTI-HALO & REFLECTIVE LAYER
PROTECTIVE LAYER
PHOSPHOR LAYER
BASE
BACKING LAYER

## Slide 9: DIGITAL RADIOGRAPHY (DR)
Works like a digital camera
Two options
  CCD
  Digital flat plate detector
Can be sent to PACS

## Slide 10: DIGITAL FLAT PLATE DETECTORS
Expensive ($80,000-120,000)
Exposure is decreased thus improving radiation safety
  Do not use grid but use image software

## Slide 11: CCD
Is sold with an X-ray machine
Camera is placed in machine before install – fits underneath the table
Less expensive than the Flat Plate Detector
Cause increase in exposure by 2 times
  Double the mAs

## Slide 12: ADVANTAGES OF DR
No film costs
No darkroom space
No processor to maintain
No films to search for or file
No expense for film jackets
Increased productivity
Decreased retakes
Decreased exposure

## Slide 13: DR PORTABLE SYSTEM

## Slide 14: DR – PORTABLE WITH CARRIER

## Slide 17
Radiology 1895 Radiology 2001

## Slide 18: DR IMAGING TECHNIQUE

## Slide 20: COMPARISON

## Slide 21: MANUFACTURERS

## Slide 22
DIGITAL RADIOGRAPHY

## Slide 24: HF X-RAY

## Slide 28: CR MANUFACTURERS

## Slide 29: MARKETING

## Slide 31: VIDEOS
https://www.youtube.com/watch?v=V9Mi8tqGQlo
https://www.youtube.com/watch?v=Bc0eOjWkxpU
https://www.youtube.com/watch?v=upogkGz6D6U